## Sheet1
| MX | McKnight Building Maintenance Schedule - 2024 |  | . | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | .
. |  | ref. https://docs.google.com/document/d/1JdSH6zE6qccDCBztLWcpu4S1aUJyOobn/edit |  |  | Add a checkmark each week that an item is completed
[5 empty] | July |  |  |  |  | August |  |  |  | September |  |  |  |  | October |  |  |  | November |  |  |  | December
| Weekly |  |  |  | 2024-07-01 | 2024-07-08 | 2024-07-15 | 2024-07-22 | 2024-07-29 | 2024-08-05 | 2024-08-12 | 2024-08-19 | 2024-08-26 | 2024-09-02 | 2024-09-09 | 2024-09-16 | 2024-09-23 | 2024-09-30 | 2024-10-07 | 2024-10-14 | 2024-10-21 | 2024-10-28 | 2024-11-04 | 2024-11-11 | 2024-11-18 | 2024-11-25 | 2024-12-02 | 2024-12-09 | 2024-12-16 | 2024-12-23 | 2024-12-30
| 1 | Take flashlight and check for ceiling tile stains and roof leaks
| 2 | Take flashlight and tour facility for any problems and schedule or take any necessary action.
| 3 | At weekly staff meetings report anything necessary to alert proper parties.
| 4 | Inspect vans, check oil, air in tires, fluids. Top off if needed.
| 5 | Clean up trash, weed-whack sidewalks and whatever needed.
| 6 | Use blower to clean parking lots and sidewalks.
| Monthly: |  |  |  | 2024-07-01: July; 2024-08-05: August; 2024-09-02: September; 2024-10-07: October; 2024-11-04: November; 2024-12-02: December
| 1 | Roof: Squeegee water toward drains (lightly) |  |  | 2024-07-01 | 2024-07-08 | 2024-07-15 | 2024-07-22 | 2024-07-29 | 2024-08-05 | 2024-08-12 | 2024-08-19 | 2024-08-26 | 2024-09-02 | 2024-09-09 | 2024-09-16 | 2024-09-23 | 2024-09-30 | 2024-10-07 | 2024-10-14 | 2024-10-21 | 2024-10-28 | 2024-11-04 | 2024-11-11 | 2024-11-18 | 2024-11-25 | 2024-12-02 | 2024-12-09 | 2024-12-16 | 2024-12-23 | 2024-12-30
| 2 | Roof: Blow off or collect dirt and leaves
| 3 | Roof: Be alert for any leaks
| 4 | Roof: Be alert for any poor seams
Quarterly:
| 1 | Filters - H.V.A.C . - R.T.U.’s & Units |  |  | 2024-07-01: July; 2024-08-05: August; 2024-09-02: September; 2024-10-07: October; 2024-11-04: November; 2024-12-02: December
|  | Take filter schedule and check ALL filters for dirt and replace, if necessary. Don.t forget to turn off the circuit breaker on the outside of the housing and turn on again when finished. You don’t want the unit to turn on while you are working in it. Also, check any units that have a belt drive on the blower for proper fit. Adjust and/or replace, as needed. Work down the schedule list to finish in order. |  |  | 2024-07-01 | 2024-07-08 | 2024-07-15 | 2024-07-22 | 2024-07-29 | 2024-08-05 | 2024-08-12 | 2024-08-19 | 2024-08-26 | 2024-09-02 | 2024-09-09 | 2024-09-16 | 2024-09-23 | 2024-09-30 | 2024-10-07 | 2024-10-14 | 2024-10-21 | 2024-10-28 | 2024-11-04 | 2024-11-11 | 2024-11-18 | 2024-11-25 | 2024-12-02 | 2024-12-09 | 2024-12-16 | 2024-12-23 | 2024-12-30
[5 empty] | July |  |  |  |  | August |  |  |  | September |  |  |  |  | October |  |  |  | November |  |  |  | December
| Misc. Unscheduled: |  |  |  | 2024-07-01 | 2024-07-08 | 2024-07-15 | 2024-07-22 | 2024-07-29 | 2024-08-05 | 2024-08-12 | 2024-08-19 | 2024-08-26 | 2024-09-02 | 2024-09-09 | 2024-09-16 | 2024-09-23 | 2024-09-30 | 2024-10-07 | 2024-10-14 | 2024-10-21 | 2024-10-28 | 2024-11-04 | 2024-11-11 | 2024-11-18 | 2024-11-25 | 2024-12-02 | 2024-12-09 | 2024-12-16 | 2024-12-23 | 2024-12-30
| 1 | Urinal and toilet leaks and broken mechanisms
| 2 | Repair roof leaks and change tiles
| 3 | Repair and/or replace light switches and electric outlets
| 4 | Repair floor scrubber and carpet cleaner
| 5 | Repair vacuums
| 6 | Pump water (excess) off roof
| 7 | Change belts on HVAC
| 8 | Install vent fans or venting
| 9 | Repair garbage disposal, ice machines, stoves, etc.
| 10 | Repair holes in drywall and paint
| 11 | Paint various walls
| 12 | Repair various furniture
| 13 | Various caulking projects
| 14 | Blow and rake leaves, trim trees where possible
| 15 | Power wash various items, walls, and sidewalks
| 16 | Clean out gutters and downspout boxes
| 17 | Vacuum and add chemicals to baptismal tank (add when needed)
| 18 | Unclog and clean stopped up toilets
| 19 | Buff gym floors and other tile floors
| 20 | Repair electrical problems in monument sign, repair canopy lights, all ceiling light repairs
| 21 | Wash vans and vacuum vans
| 22 | Run disposal to keep it from locking up and mark schedule
| 23 | Change batteries in the “EXIT” lights and signs.
| 24 | Repair and/or replace any door locks/handles and occasionally lube the locks.
| 25 | Repair and/or replace light switches and outlets, as needed
| 26 | Work on and repair electrical issues around the building & premises.
| 27 | Address various MX ToDo items noted on list | https://docs.google.com/spreadsheets/d/1EvuAS-hIe0Hdf4SgJ0MPOuIPeovf6Fg6/edit#gid=1724025130